## Slide 1: Ressearch on benefits on higher electrode count on HD-EMG

## Slide 2: Is more better?
Yes and no
TL;DR
  More will always be more precise
  Diminishing returns
  Algorithm dependant

## Slide 3: Main focus of articles
Main focus of articles on HD-EMG: Reaching optimal number of electrode for algorithm, not density
F. Chamberland et al., « Novel Wearable HD-EMG Sensor With Shift-Robust Gesture Recognition Using Deep Learning », IEEE Trans. Biomed. Circuits Syst., vol. 17, no 5, p. 968‑984, oct. 2023, doi: 10.1109/TBCAS.2023.3314053.
G. Rolandino, C. Zangrandi, T. Vieira, G. Luigi Cerone, B. Andrews, et J. J. FitzGerald, « HDE-Array: Development and Validation of a New Dry Electrode Array Design to Acquire HD-sEMG for Hand Position Estimation », IEEE Trans. Neural Syst. Rehabil. Eng., vol. 32, p. 4004‑4013, 2024, doi: 10.1109/tnsre.2024.3490796.

## Slide 4
Y. Geng, X. Zhang, Y.-T. Zhang, et G. Li, « A novel channel selection method for multiple motion classification using high-density electromyography », BioMed Eng OnLine, vol. 13, no 1, p. 102, déc. 2014, doi: 10.1186/1475-925X-13-102.
21 hand movements
Note: Some electrodes are on the hand for this study

## Slide 5
J. Lara, N. Paskaranandavadivel, et L. K. Cheng, « Effect of Segmentation Parameters on Classification Accuracy of High-Density EMG recordings », in 2019 41st Annual International Conference of the IEEE Engineering in Medicine and Biology Society (EMBC), Berlin, Germany: IEEE, juill. 2019, p. 6229‑6232. doi: 10.1109/EMBC.2019.8856809.
9 hand movements

## Slide 6
J. Lara, N. Paskaranandavadivel, et L. K. Cheng, « HD-EMG Electrode Count and Feature Selection Influence on Pattern-based Movement Classification Accuracy », in 2020 42nd Annual International Conference of the IEEE Engineering in Medicine & Biology Society (EMBC), Montreal, QC, Canada: IEEE, juill. 2020, p. 4787‑4790. doi: 10.1109/EMBC44109.2020.9175210.
M. Paleari, M. Di Girolamo, N. Celadon, A. Favetto, et P. Ariano, « On optimal electrode configuration to estimate hand movements from forearm surface electromyography », in 2015 37th Annual International Conference of the IEEE Engineering in Medicine and Biology Society (EMBC), Milan: IEEE, août 2015, p. 6086‑6089. doi: 10.1109/EMBC.2015.7319780.
11 hand movements
17 hand movements

## Slide 7: Consequence of main focus
Use of commercial hardware
If focused on quantity: not focused on positionning
J. Lara, N. Paskaranandavadivel, et L. K. Cheng, « Effect of Segmentation Parameters on Classification Accuracy of High-Density EMG recordings », in 2019 41st Annual International Conference of the IEEE Engineering in Medicine and Biology Society (EMBC), Berlin, Germany: IEEE, juill. 2019, p. 6229‑6232. doi: 10.1109/EMBC.2019.8856809.
M. Paleari, M. Di Girolamo, N. Celadon, A. Favetto, et P. Ariano, « On optimal electrode configuration to estimate hand movements from forearm surface electromyography », in 2015 37th Annual International Conference of the IEEE Engineering in Medicine and Biology Society (EMBC), Milan: IEEE, août 2015, p. 6086‑6089. doi: 10.1109/EMBC.2015.7319780.

## Slide 8: Key design points
Electrode geometry
Inter-electrode distance (IED)
Optimal resolution
Computing power

## Slide 9: Electrode Geometry
2 main geometry
  Pin: Circular electrode
  Bar: Rectangular electrode
Smaller electrode: Lower SNR
Bigger electrode: Less precise information on signal and higher chance of crosstalk

## Slide 10: Inter-electrode distance (IED)
IED: center to center distance between two electrodes
Higher IED values: Higher chance of crosstalk and lower density
Lower IED values: Lower SNR
  Less impact on SNR than electrode dimensions

## Slide 11: Optimal resolution
Resolution gain with adding electrodes:
  Along the muscle fiber: small
  Perpedicular to muscle fibers: big

## Slide 12: Computing power
Higher quantity of electrodes: More computing power
Main limiting factor for portable bracelet