## Slide 1: Update
Olivier Bergeron
2025-06-16

## Slide 2: Trends looked for
Number of electrodes vs electrode size
Number of electrodes vs IED (Inter-electrode distance)
Number of electrodes vs quantity of movement evaluated
All of them were evaluated for a specific classification accuracy (90%)
Major difficulty: only found 5 papers on varying electrode count and accuracy

## Slide 3: Trends looked for
Quick conclusions:
  Never the same amount of electrodes
  Always a smart selection/position of electrodes
  No paper got the same maximum classification accuracy
  Some papers put electrodes on the hand
Trends appear when taking in count percentage of electrode instead of absolute number of electrodes and classification accuracy relative to its max

## Slide 6
Logic trend: smaller electrodes -> lower signal amplitude -> need more electrodes

## Slide 7
Logic trend: closer electrodes -> smaller electrodes -> lower signal amplitude -> need more electrodes

## Slide 8
Trend seems to look like more movements requires a little more electrodes

## Slide 9: Next trend to look for
Number of detectable motor units vs number of electrodes
As of right now: only found 1 paper
A. H. Caillet et al., « Larger and Denser: An Optimal Design for Surface Grids of EMG Electrodes to Identify Greater and More Representative Samples of Motor Units », eNeuro, vol. 10, no 9, p. ENEURO.0064-23.2023, sept. 2023, doi: 10.1523/ENEURO.0064-23.2023.

## Slide 14: Partial conclusions
Going denser:
  Tends to give a little more accuracy
  Seems to give more detectable motor units

## Slide 15: Next steps
Keep trying to find papers on motor unit detection vs quantity of electrodes